| Grip-Engineering info@grip.de | ISO Fixtures Back |
| --- | --- |
| ISO34-1 DIN ISO34-1 | Rubber, vulcanized or thermoplastic — Determination of tear strength — Part 1: Trouser, angle and crescent test pieces | THS265-CW THS265-CHV12.7x102 Fig.2 THS1678 |
| ISO37 | Rubber, vulcanized or thermoplastic — Determination of tensile stress-strain properties | THS265-CW THS265-CHB4x25 (Type 2) THS265-CHB5x21 (Type 1A) THS265-CHB6x33 (Type 1) TH44 |
| ISO75-2 | Plastics — Determination of temperature of deflection under load — Part 2: Plastics and ebonite | THS265-CHR10x80 |
| ISO178 DIN EN ISO178 | Plastics — Determination of flexural properties | TH103-B220-CR5-oFR5 TH103-3P-B220-AR2-5-oFR5-cgr TH103-3P-B220-AR3-5-oFR5-ok TH103-3P-B220-CR5-oFR5-cgr TH22 TH238 |
| ISO252 | Conveyor belts -- Adhesion between constitutive elements | THS470 |
| ISO306 DIN EN ISO306 | Plastics - Thermoplastic materials - Determination of Vicat softening temperature (VST) | THS265 |
| ISO527-2 DIN EN ISO527-2 | Plastics -- Determination of tensile properties -- Part 2: Test conditions for moulding and extrusion plastics | THS265-CW10x60 THS265-CHB10x60 (Type 1B) THS265-CHB10x80 (Type 1A) THS265-CHB4x25 (Type 5A) THS265-CHB5x30 (Type 1BA) THS474-10-H10-R25 THS1390-MLD-10x80-ISO527-2-Type1A-ISO604-TypeB |
| ISO527-3 DIN EN ISO527-3 | Plastics — Determination of tensile properties — Part 3: Test conditions for films and sheets | THS265-CW THS265-CHB6x33 (Type 5) THS265-CHB10x60 (Type 1B) THS474-10-R60 |
| ISO527-4 | Determination of tensile properties Part 4: Test conditions for isotropic and orthotropic fibre-reinforced plastic composites | THS28-BP50x75-S15 + THS438-3513-AM20 |
| ISO604 DIN EN ISO604 | Plastics - Determination of compressive properties | TH23-56 THS1390-MLD-10x80-ISO527-2-Type1A-ISO604-TypeB-Type B |
| ISO813 DIN ISO813 | Determination of adhesion to a rigid substrate - 90 degree peel method | TH95-3 TH95-4 |
| ISO844 DIN EN ISO844 | Rigid cellular plastics — Determination of compression properties | TH23-156-St + THS223g-156 |
| ISO898-1 DIN EN ISO898-1 | Mechanical properties of fasteners made of carbon steel and alloy steel -- Part 1: Bolts, screws and studs with specified property classes -- Coarse thread and fine pitch thread | THS659-1000 THS786 |
| ISO898-2 DIN EN ISO898-2 | Mechanical properties of fasteners made of carbon steel and alloy steel — Part 2: Nuts with specified property classes — Coarse thread and fine pitch thread | THS786-70 (tensile test) THS659 (tensile test) THS910 (compression test) |
| ISO1288 DIN EN ISO1288 | Glass in building — Determination of the bending strength of glass — Part 3: Test with specimen supported at two points (four point bending) | THS124-V2 |
| ISO1798 | Flexible cellular polymeric materials — Determination of tensile strength and elongation at break | THS265-CW10x40 (Type 1A) THS265-CHB10x40 (Type 1A) THS265-CHB13x55 (Type 1) |
| ISO1806 DIN EN ISO1806 | Fishing nets - Determination of mesh breaking force of netting | TH231 THS43 |
| ISO1827 | Rubber, vulcanized or thermoplastic Determination of shear modulus and adhesion to rigid plates Quadruple-shear methods | THS396-SP6-Af20+QSP20 |
| ISO1922 | Shear properties of sandwich core materials | TH193-V4 |
| ISO1926 | Rigid cellular plastics — Determination of tensile properties | TH213 |
| ISO1927-6 DIN EN ISO1927-6 | Monolithic (unshaped) refractory products - Part 6: Measurement of physical properties. 6. Determination of cold crushing strength. | THS223-196 + TH23-196 (for insulating unshaped materials) THS223-96 + TH23-196 (for dense unshaped materials) |
| ISO2039-1 DIN EN ISO2039-1 | Plastics - Determination of hardness - Part 1: Ball indentation method | THS265 |
| ISO2062 | Textiles — Yarns from packages — Determination of single-end breaking force and elongation at break using constant rate of extension (CRE) tester | THS13g-10 TH240g+Ko+BW80 |
| ISO2137 DIN ISO2137 | Petroleum products and lubricants - Determination of cone penetration of lubricating greases and petrolatum | THS1010-10 |
| ISO2439 DIN EN ISO2439 | Flexible cellular polymeric materials — Determination of hardness (indentation technique) | TH36-D200-R1+THS223b-Af159 |
| ISO2493-1 DIN ISO 2493-1 | Paper and board - Determination of bending resistance - Part 1: Constant rate of deflection | THS1445-V3 |
| ISO2563 DIN EN ISO2563 | Aircraft ducting and piping — Profile dimensions for flanges of V-band couplings | TH238St-AR3x3-OR3+Gde THS884+TH238+TH187 |
| ISO2759 DIN EN ISO2759 | Board - Determination of bursting strength | THS174-30.5-R5 |
| ISO3037 DIN EN ISO 3037 | Corrugated fibreboard — Determination of edgewise crush resistance (unwaxed edge method) | THS733-200-ISO3037 |
| ISO3167 | Plastics — multipurpose test specimens | THS265-CHB10x80 (Type A) |
| ISO3303-1 DIN EN ISO3303-1 | Bursting strength of rubber- or plastics-coated fabrics - Part 1: Steel-ball method | THS453-45-P25.2 |
| ISO3327 DIN EN ISO3327 | Hardmetals - Determination of transverse rupture strength | THS1087 TH22St-240-CX5-cgr TH22St-360-CX6-oX6 |
| ISO3341 | Textile glass — Yarns — Determination of breaking force and breaking elongation | TH76-10-D50+D90-Af20 |
| ISO3347 | Wood — Determination of ultimate shearing stress parallel to grain | THS740-2 |
| ISO3377- 2 DIN EN ISO3377- 2 | Leather - Physical and mechanical tests - Determination of tear load - Part 2: Double edge tear | THS694-20 |
| ISO3379 DIN EN ISO3379 | Leather - Determination of distension and strength of surface (Ball burst method) | THS460 |
| ISO3386-1 DIN EN ISO3386-1 | Polymeric materials, cellular flexible - Determination of stress-strain characteristics in compression - Part 1: Low-density materials | THS223k-D203 TH36L-L6x20 |
| ISO3651-2 DIN EN ISO3651-2 | Determination of resistance to intergranular corrosion of stainless steels — Part 2: Ferritic,austenitic and ferritic-austenitic (duplex) stainless steels — Corrosion test in media containing sulfuric acid | TH103-FV-oR2,3,4,5-W70 |
| ISO3781 DIN ISO3781 | Paper and board -- Determination of tensile strength after immersion in water | THS779-2020-HL |
| ISO4013 | Concrete — Determination of flexural strength of test specimens | TH22-600-4P-CWR20 |
| ISO4074 | Natural rubber latex male condoms -Requirements and test methods | TH44-10-D15x25 |
| ISO4578 | Adhesives - Determination of peel resistance of high-strength adhesive bonds - Floating-roller method | TH105-D25-B30 |
| ISO4587 | Adhesives — Determination of tensile lap-shear strength of rigid-to-rigid bonded assemblies | TH240g+Ko+BP + THS519 |
| ISO4624 DIN EN ISO4624 | Paints and varnishes, pull off test for adhesion | THS625 THS1514 |
| ISO4919 | Textile floor coverings - Determination of tuft withdrawal force | THS1067-10 |
| ISO5173 DIN EN ISO5173 | Destructive tests on welds in metallic materials - Bend tests | THS1018 THS260 |
| ISO6237 | Adhesives – wood-to-wood adhesive bonds. Determination of shear strength by tension loading. | TH11-5 TH11-20 |
| ISO6238 | Testing of small clear specimens of timber | TH17 |
| EN6259-1 EN ISO6259−1 | Thermoplastics pipes - Determination of tensile properties - Part 1: General test method | THS474 |
| ISO6259-3 | Thermoplastics pipes – Determination of tensile properties – Part 3: Polyolefin pipes | THS1086 |
| ISO6259-3 DIN EN ISO6259-3 | Thermoplastics pipes — Determination of tensile properties — Part 3: Polyolefin pipes | THS353 THS1086-12-50 THS1086-30-70 |
| ISO6312 | Road vehicles - Brake linings - Shear test procedure for disc brake pad and drum brake shoe assemblies | THS898-20 |
| ISO6507-2 DIN EN ISO6507-2 | Metallic materials - Vickers hardness test - Part 2: Verification and calibration of testing machines | THS71-10 |
| ISO6872 DIN EN ISO6872 | Dentistry - Ceramic materials | THS1620-16-1.6-ISO6872 |
| ISO6892 DIN EN ISO 6892 | Metallic materials - Tensile testing - Part 1: Method of test at room temperature | THS265-CSS12.7x63 (Type 2) |
| ISO7198 | Cardiovascular implants and extracorporeal systems — Vascular prostheses — Tubular vascular grafts and vascular patches. | THS581-11.3-D9.5 |
| ISO7206 | Implants for surgery — Partial and total hip joint prostheses — Part 4: Determination of endurance properties and performance of stemmed femoral components. Gliding nail fatigue test. | THS879 |
| ISO7389 DIN EN ISO7389 | Building construction - Jointing products - Determination of elastic recovery of sealants | THS504 |
| ISO7438 DIN EN ISO7438 | Metallic materials — Bend test | TH238-3P-200-CXD30x40 TH103-FV-VDA238-100 THS260 THS1711 |
| ISO/IEC7810 | Identification cards - Physical characteristics | TH104-110 TH104-60 |
| ISO7808 DIN EN ISO7808 | Plastics - Thermosetting moulding materials - Determination of transfer flow | TH4220-D90+gde |
| ISO7864 DIN EN ISO7864 | Tensile test fixture to test sterile hypodermic needles | THS1114 THS1180 |
| ISO7886-1 DIN EN ISO7886-1 | Sterile hypodermic syringes for single use - Part 1: Syringes for manual use | THS727-80 TH238-ISO9626 |
| ISO7961 | Aerospace — Bolts — Test methods | THS890 |
| ISO8067 | Flexible cellular polymeric materials-Determination of tear strength | THS265-CHV12.7x102 |
| ISO8295 DIN EN ISO8295 | Plastics - Film and sheeting - Determination of the coefficients of friction | TH62-50 |
| ISO8339 DIN EN ISO8339 | Building construction - Sealants - Determination of tensile properties (Extension to break) | THS504 |
| ISO8340 DIN EN ISO8340 | Determination of tensile properties at maintained extension | THS504-52-12-77-36-5 |
| ISO8490 | Metallic materials - Sheet and strip - Modified Erichsen cupping test | THS805-1 |
| ISO8493 DIN EN ISO8493 | Metallic materials - Tube - Drift-expanding test | THS791 |
| ISO8494 | Metallic materials — Tube — Flanging test | THS791-120-D1060-Af110 |
| ISO8510-1 | Adhesives — Peel test for a flexible-bonded-to-rigid test specimen assembly — Part 1: 90 degree peel | TH50 |
| ISO8515 | Textile-glass-reinforced plastics - Determination of compressive properties in the direction parallel to the plane of lamination | THS613 |
| ISO8627 | Dentistry; Stiffness of the tufted area of tooth-brushes | THS63-Z3 |
| ISO8895 DIN EN ISO 8895 | Shaped insulating refractory products - Determination of cold crushing strength | THS223-196 + TH23-196 |
| ISO9046 DIN EN ISO9046 | Building construction - Jointing products - Determination of adhesion/cohesion properties of sealants at constant temperature | THS504 |
| ISO9073-5 DIN EN ISO9073-5 | Textiles - Test methods for nonwovens - Part 5: Determination of resistance to mechanical penetration (ball burst procedure) | THS453-D44.45-R12.7 |
| ISO9073-7 DIN EN ISO9073-7 | Textiles - Test methods for nonwovens - Part 7: Determination of bending length | THS853-20 |
| ISO9187-1 DIN EN ISO9187-1 | Injection equipment for medical use - Part 1: Ampoules for injectables | TH238-B200-OR2-CWx TH238-ISO9187-1 |
| ISO9073-18 DIN EN ISO9073-18 | Textiles — Test methods for nonwovens — Part 18: Determination of breaking strength and elongation of nonwoven materials using the grab tensile test | TH83+BG25 |
| ISO9311-2 | Adhesives for thermoplastic piping systems — Part 2: Determination of shear strength | THS1708 |
| ISO9626 DIN EN ISO9626 | Stainless steel needle tubing for the manufacture of medical devices - Requirements and test methods | THS1588-ISO9626-Ann.C TH238+CR0.1V90-OR1-St |
| ISO9665 DIN EN ISO 9665 | Adhesives - Animal glues - Methods for sampling and testing | THS42-F12.7R0.39-80 + TH23-56 |
| ISO9836-1 DIN EN ISO9836-1 | Geosynthetics - Determination of thickness at specified pressures - Part 1: Single layers | THS1597 |
| ISO9895 | Paper and board - Compressive strength - Short-span test | THS733-310 (manual) THS733-310-V2-Af159+Ko (pneumatic) |
| ISO10059-1 | Dense, shaped refractory products — Determination of cold compressive strength — Part 1: Referee test without packing | THS223-96 + TH23-196 |
| ISO10059-2 | Dense, shaped refractory products — Determination of cold compressive strength — Part 2: Test with packing | THS223-96 + TH23-196 |
| ISO10319 DIN EN ISO10319 | Geosynthetics - Wide-width tensile test | TH135 THS668 |
| ISO10354 DIN EN ISO10354 | Adhesives – Characterization of durability of structural-adhesive-bonded assemblies – Wedge rupture test | THS1455-CH6.5x1-P3x25V60 |
| ISO/IEC10373-1 | Identification cards - Test methods - Part 1: General characteristics | TH104-110 TH104-60 |
| ISO10477 DIN EN ISO10477 | Dentistry - Polymer-based crown and veneering materials | TH238+CX2+4+10 |
| ISO10545 DIN EN ISO10545 | Ceramic tiles - Part 2: Determination of dimensions and surface quality | TH22-360 |
| ISO10545-4 | Ceramic tiles — Part 4: Determination of modulus of rupture and breaking strength | TH22-360-CWXD20x200-OWXD20x200 |
| ISO11040-4 | Prefilled syringes — Part 4: Glass barrels for injectables and sterilized subassembled syringes ready for filling | THS1859 |
| ISO/TS11405 | Dentistry — Testing of adhesion to tooth structure | THS543-190 |
| ISO11542-2 DIN EN ISO11542-2 | Plastics - Ultra-high-molecular-weight polyethylene (PE-UHMW) moulding and extrusion materials - Part 2: Preparation of test specimens and determination of properties | THS941 |
| ISO11608-3 DIN EN ISO11608-3 | Needle-based injection systems for medical use - Requirements and test methods - Part 3: Finished containers | THS1256-V1 |
| ISO11644 DIN EN ISO11644 | Leather - Test for adhesion of finish | THS1186-20 |
| ISO11747 | Rice — Determination of rice kernel resistance to extrusion after cooking | THS773-27.4x27.4 |
| ISO11979-3 DIN EN ISO11979-3 | Ophthalmic implants - Intraocular lenses - Part 3: Mechanical properties and test methods. Compression test. | THS1486 |
| ISO12192 DIN EN ISO12192 | Paper and board — Determination of compressive strength — Ring crush method | THS733-200-ISO12192 |
| ISO12236 DIN EN ISO12236 | Static puncture test on geotextiles | THS174-D150-F50-V2 |
| ISO12402-Fig1 DIN EN ISO12402-Fig1 | Standard for personal flotation devices | THS1205-9x1.6-Af20 |
| ISO12625-5 DIN EN ISO12625-5 | Tissue paper and tissue products - Part 5: Determination of wet tensile strength | THS779-2020-HL |
| ISO12625-9 DIN EN ISO12625-9 | Tissue paper and tissue products - Part 9: Determination of ball burst strength | THS855-10 |
| ISO13007 | Ceramic tiles — Grouts and adhesives — Part 1: Terms, definitions and specifications for adhesives | THS450 THS534 TH238-B300-CXH100-D10x60 |
| ISO13314 | Mechanical testing of metals — Ductility testing — Compression test for porous and cellular metals | TH23-116-318-ith1 + THS223g-P156 |
| ISO13445 | Determination of shear strength of adhesive bonds between rigid substrates by the block-shear method | THS1399 |
| ISO13503-2 DIN EN ISO13503-2 | Petroleum and natural gas industries -- Completion fluids and materials - Part 2: Measurement of properties of proppants used in hydraulic fracturing and gravel-packing operations | THS947 |
| ISO13640 | Buildings and civil engineering works - Sealants - Specifications for test substrates | THS504 |
| ISO13779-4 | Implants for surgery - Hydroxyapatite - Part 4: Determination of coating adhesion strength | THS625 |
| ISO13934 DIN EN ISO13934 | Textiles - Tensile properties of fabrics - Part 1: Determination of maximum force and elongation at maximum force using the strip method | TH83 THS265-CHR50x260 |
| ISO13936-1 DIN EN ISO13936-1 | Textiles - Determination of the slippage resistance of yarns at a seam in woven fabrics - Part 1: Fixed seam opening method | TH240g+B25x25+B25x50 |
| ISO13936-2 DIN EN ISO13936-2 | Textiles - Determination of the slippage resistance of yarns at a seam in woven fabrics - Part 2: Fixed load method | TH240g+BP25x25+BP25x50 TH240k+BW30+BW50 |
| ISO13936-3 DIN EN ISO13936-3 | Textiles - Determination of the slippage resistance of yarns at a seam in woven fabrics - Part 3: Needle clamp method | THS1108 |
| ISO13953 | Polyethylene (PE) pipes and fittings – Determination of the tensile strength and failure mode of test pieces from a butt-fused joint | THS353-20-25-30-ISO13953-ISO6259-3 THS1086-110-30 |
| ISO13954 | Plastics pipes and fittings - Peel decohesion test for polyethylene (PE) electrofusion assemblies of nominal outside diameter greater than or equal to 90 mm | THS353-5x26-CH-Q THS1086 |
| ISO14125 DIN EN ISO14125 | Fibre-reinforced plastic composites - Determination of flexural properties | TH22-5P-240-CWLD4+D10 TH22-5P-CWR2+110 Fig 4 THS884+TH238+TH187 |
| ISO14126 DIN EN ISO14126 | Fibre-reinforced plastic composites - Determination of compressive properties in the in-plane direction | TH121 THS613 (Method 1) THS705+Ko THS321-250c-Hy + THS705-F100-Ko THS793-ISO14126 (Method 2 Fig. C2) |
| ISO14130 DIN EN ISO14130 | Fibre reinforced plastic composites - Determination of apparent interlaminar shear strength by short beam-method | TH103-B220+AR2R5 THS884-ith2-Af159 |
| ISO14272 DIN EN ISO14272 | Resistance welding - Destructive testing of welds - Specimen dimensions and procedure for cross tension testing of resistance spot and embossed projection welds | THS1146 |
| ISO14555 DIN EN ISO14555 | Welding - Arc stud welding of metallic materials | THS1556 |
| ISO14589 | Blind rivets - mechanical testing | THS871 |
| ISO14704 | Fine ceramics (advanced ceramics, advanced technical ceramics) — Test method for flexural strength of monolithic ceramics at room temperature | TH238-5P-B200-CWN-ith1 |
| ISO14801 DIN EN ISO14801 | Dentistry - Implants - Dynamic loading test for endosseous dental implants | THS543-170 THS1447-V2-ISO14801 |
| ISO14889 | Ophthalmic optics — Spectacle lenses — Fundamental requirements for uncut finished lenses | THS1895 |
| ISO14916 DIN EN ISO14916 | Thermal spraying - Determination of tensile adhesive strength | THS625 THS1514 |
| ISO15024 | Fibre-reinforced plastic composites Determination of mode I interlaminar fracture toughness, GIC, for unidirectionally reinforced material | THS353-D8x20x15+Exx |
| ISO15107 | Adhesives — Determination of cleavage strength of bonded joints | THS87-Af318+ E25x25T |
| ISO15113 | Rubber – Determination of frictional properties | TH62-P270 |
| ISO15361 | Pulps - Determination of zero-span tensile strength, wet or dry | THS1096 |
| ISO15490 | Fine Ceramics Tensile Strength | THS1591-20-9.8-R3-Af159 THS1433 |
| ISO15630-1 | Steel for the reinforcement and prestressing of concrete — Test methods — Part 1: Reinforcing bars, rods and wire | THS260-360-D60V20-OR3.75-OP2 Fig. 3 |
| ISO15630-2 DIN EN ISO15630-2 | Steel for the reinforcement and prestressing of concrete - Test methods - Part 2: Welded fabric and lattice girder | THS290-10 THS290-21 THS290-30 THS290-40 THS290-50 |
| ISO15754 | Paper and board — Determination of z-directional tensile strength | THS1456-20 |
| ISO16770 | Plastics - Determination of environmental stress cracking (ESC) of polyethylene - Full-notch creep test (FNCT) | THS1270 |
| ISO17697 DIN EN ISO17697 | Footwear - Test methods for uppers, lining and insocks - Seam strength | THS1205 |
| ISO18488 | Polyethylene (PE) materials for piping systems Determination of Strain Hardening Modulus in relation to slow crack growth | THS265-CWB4X16-ISO18488 |
| ISO19095-3 | Plastics - Evaluation of the adhesion interface performance in plastic-metal assemblies - Part 3: Test methods | THS1582-V2-H100 |
| ISO19642-2 | Road vehicles — Automotive cables | THS1629 |
| ISO19736 DIN ISO19736 | Dentistry - Bonding test between polymer teeth and denture base materials | THS1959-ISO19736 |
| ISO19927 | Fibre-reinforced plastic composites — Determination of interlaminar strength and modulus by double beam shear test | TH238-5P-CR3 ith1-Af20 |
| ISO19958 | Footwear — Test methods for heels and top pieces — Top piece retention strength | THS1378-50 |
| ISO20126 DIN EN ISO20126 | Dentistry — Manual toothbrushes — General requirements and test methods | THS341-10-K + THS63-10 |
| ISO20344 EN ISO20344 | Personal protective equipment. Test methods for footwear | THS1380-20 THS1148-OT+THS470-Af20 (ISO20344-Fig.5) |
| ISO20482 DIN EN ISO20482 | Testing of metals; Erichsen cupping test on sheet and strip metal having a width of >= 90 mm; Thickness range: 0.2 mm to 2 mm | THS145-D27-R10 THS145-D11-R4 |
| ISO20795-1 DIN EN ISO20795-1 | Dentistry - Artificial teeth for dental prostheses | THS1447-S12 + TH227+BP25-Af20 |
| ISO20932-1 EN ISO20932-1 | Textiles. Determination of the elasticity of fabrics. Strip tests. | TH227-B80-BLCR3 (Strip test) |
| ISO20932-2 | Textiles - Determination of the elasticity of fabrics - Part 2: Multiaxial tests | THS1541-120-156-R114.4+R50 THS353-6x80-Al (Loop test) |
| ISO21182 DIN EN ISO21182 | Light conveyor belts - Determination of the coefficient of friction | TH62-40 |
| ISO21809-3 | Petroleum and natural gas industries — External coatings for buried or submerged pipelines used in pipeline transportation systems — Part 3: Field joint coatings. Annex H (peel strength test). | TH3-280 |
| ISO22112 DIN EN ISO22112 | Dentistry - Artificial teeth for dental prostheses | THS1447-S12 + TH227+BP25-Af20 |
| ISO22254 DIN EN ISO22254 | Dentistry - Manual toothbrushes - Resistance of tufted portion to deflection | THS63-Z3 |
| ISO22631 | Adhesives for floor and wall coverings Peel test | TH192-D20-A26-W57-Af159 THS989-90x60-HR (roller) |
| ISO22632 | Adhesives for floor and wall coverings Peel test | THS989-90x60-3.5 (roller) |
| ISO23910 DIN EN ISO23910 | Leather - Physical and mechanical tests - Measurement of stitch tear resistance | THS694-10 |
| ISO23936-2-B.2 DIN EN ISO23936-2-B.2 | Petroleum, petrochemical and natural gas industries - Non-metallic materials in contact with media related to oil and gas production - Part 2: Elastomers | THS1512-325 |
| ISO29022 DIN EN ISO29022 | Dentistry - Adhesion - Notched-edge shear bond strength test | THS633-540-V5 |
| ISO29862 DIN EN ISO29862 | Self adhesive tapes - Determination of peel adhesion properties | THS989-95x45-HR |
| ISO29864 EN ISO29864-Method-B | Self adhesive tapes - Measurement of breaking strength and elongation at break | THS919-100 |
| info@grip.de LX 17 Apr 2024 |  | TOP |